## Tabelle1
proposed
titel | author | content | journal
PBL | Juan Antonio +? | compare PBL of different instruments |  | very soon
| Katka | compare PBL diferent algorithms (STRAT vs. manufacturer)
different locations
for operational algorithm in ICOS
PBL2 | SIRTA + all | more focused on ceilinex
WV absorption | Matthias +all | validation of WVA method using humidity from sonde and 1064 ALC
calibration | Maxime, Frank (+all) | using Ceilinex for validation/testing |  | bit later
overlap | Maxime+Yann (nobody else) | using only payerne data, no ceilinex |  | few months
overlap 2 | Matthias, Frank +all | using ceilinex data, horizontal measurements |  | later
general overview | Ina +all | overview
correlation plots (Margit)
cloud base heights?
detection limits conventional range | Ina +all | detection limits conventional range
|  | maybe together with general |  | analysis not yet started
cloud base heights | Uli +all | problem of different definitions
input from manufacturers on their algorithms and thresholds
new aspect: use of common defnition/own algorithm may give more homogenious results
comparison of backscatter profiles | Frank +all | systematic errors (overlap, dark current…) |  | later
cloud base search | only frank | short letter |  | very soon
fog | RUB+all | handling of fog-flag by different manufacturers |  | analysis not yet started
next meeting: one month before VARNA (May 2-3)? Vienna(ZAMG,during EGU), Offenbach, Paris, Berlin, Hamburg, Düsseldorf?
quicklook 29 aug as header-image